USP Apparatus

I (Basket)                                                                                                            109

I (Basket)                                                                                                             10

I (Basket)                                                                                                              5

I (Basket                                                                                                               2

I (Basket -100 mesh)                                                                                                    2

I (Basket) 100 mL dissolution vessel                                                                                    1

I (Basket) 100 mL dissolution vessel                                                                                    1

I (Basket-10 mesh)                                                                                                      1

I (Basket- 10 mesh)                                                                                                     1

I (Suppository, dissolution baskets, palmieri type)                                                                     1

I (with Palmieri type basket)                                                                                           1

Simvastain: I (10 mesh rotating Basket)                                                                                 1

I (Basket, with 20 mesh)                                                                                                1

I (Basket) with Diacell sample holder                                                                                   1

I (Basket with sinker)                                                                                                  1

Met: I (Basket, 40 mesh): Can: I (Basket, 10 mesh [with option of tablet holder])                                       1

I (Basket)  100 mL round bottom vessel                                                                                  1

I ( Basket)                                                                                                             1

I (Basket) for 75 strength:                      I (Basket with modified diameter of 24.5 mm) for 150 mg strength:      1

I (Basket- 20 mesh)                                                                                                     1

Elagolix: I (Basket)                                                                                                    1

TOTAL:	#

II (Paddle)                                                                                                           474

II (Paddle) with sinker                                                                                                42

II (Paddle)                                                                                                            42

II (Paddle                                                                                                              8

II (Paddle) with sinker                                                                                                 6

II (Paddle with sinker)                                                                                                 5

II (Paddle                                                                                                              5

II (Paddle) with sinkers                                                                                                4

II (Paddle) with option to use a sinker                                                                                 3

II (Paddle) with sinker                                                                                                 2

II (paddle)                                                                                                             2

II (Paddle) small volume dissolution apparatus                                                                          2

Lumacaftor: II (Paddle); Ivacaftor: II (Paddle)                                                                         1

II (Paddle) Stationary Basket over the Paddle                                                                           1

II (Paddle) with option to use a sinker                                                                                 1

II (Paddle) with stainless steel stationary quadrangular hanging basket                                                 1

Cobi: II (Paddle): Drv: II (Paddle)                                                                                     1

II (Paddle) with PEAK vessels                                                                                           1

II (Paddle), with option to use a sinker for 20/10 mg strength                                                          1

Vonoprazan: II (Paddle)                                                                                                 1

Clarithromycin and Vonoprazan: II (Paddle)                                                                              1

II (Teflon coated paddle)                                                                                               1

II (Paddle) with peak vessels                                                                                           1

II (Paddle) with Sinker                                                                                                 1

Dutasteride: II (Paddle) with sinker.  Tamsulosin: II (Paddle)                                                          1

II (Paddle) over a disk (62 mm with 16 mesh)                                                                            1

II (Paddle) (diclo)                                                                                                      1

TOTAL:	#

III (Reciprocating Cylinder)                                                                                            6

Reciprocating Cylinder (Apparatus 3 modified)                                                                           1

III (Reciprocating Cylinder) [40 mesh for bottom and top of the inner tube]                                             1

III (Reciprocating Cylinder [40 mesh (for bottom and top of the inner tube)]                                            1

III (Reciprocating Cylinder)  [Bottom Screen: 200 mesh stainless steel]                                                 1

TOTAL:	#

IV (Flow-Through Cell-Open system)                                                                                      1

IV (Flow thru cell-closed loop)                                                                                         1

IV (Flow through cell), 22.6 mm cell                                                                                    1

IV (Flow through cell-closed loop) / 22 mm                                                                              1

IV (Flow through cell)                                                                                                  1

IV (Flow through Cell) with closed system                                                                               1

TOTAL:	#

Modified USP Type V (Paddle-over-disk)                                                                                  2

Paddle over Disk (Apparatus 5)                                                                                          2

Paddle over Disk (Apparatus 5)                                                                                          2

V (paddle over disk)                                                                                                    2

V (Paddle over disk). Paddle 25 mm above the film on the disk.                                                          1

V (Paddle over Disk) with a stainless steel disk (120 mesh screens)                                                     1

V (Paddle over Disk)                                                                                                    1

V (Paddle over Disk), with 56 mm, 40 mesh stainless steel disk.                                                         1

V (Paddle over Disk) with 56 mm, 40 mesh stainless steel disk.                                                          1

V (Paddle over Disk) attach the patch to the stainless steel plate with double-sided tape                               1

V (Paddle over Disk) with a stainless steel disk                                                                        1

V (Paddle over disk) with Transdermal System Holding Wire Screen (TSHWR)                                                1

V (Paddle over Disk) with a watchdish (a diameter of 6 cm)                                                              1

V (Paddle over disk)                                                                                                    1

TOTAL:	#

VI (Cylinder)                                                                                                           4

VI (Cylinder)                                                                                                           1

Modified USP Type VI (cylinder)                                                                                         1

Rotating Cylinder (Apparatus 6)                                                                                         1

VI (Cylinder) with adapter, if needed                                                                                   1

VI (Cylinder) attach the patch  to the cylinder with double-sided tape                                                  1

VI (Cylinder) attach the patch to a disk at the bottom of the cylinder                                                  1

TOTAL:	#

Reciprocating disk (Apparatus 7)                                                                                        1

VII (Reciprocating holder)- cylinder.                                                                                   1

VII (with reciprocating 50 mesh baskets)                                                                                1

TOTAL:	#

Prior to sampling, the jar is removed from incubation and mechanically swirled with digital orbital shaker              1

Chewing Machine as desribed in European Pharmacopoeia (2.9.25)                                                          1

Incubator shaker                                                                                                        1

1

Name: count, dtype: int64

Speed (RPMs)

50							327

75							209

100							158

60							16

25							15

150							7

70							4

65							3

40							3

200							2

35							2

20 dpm							2

55							2

175							1

RIB: 50; LET: 75						1

30 cycles per minute. amplitude of about 2m.			1

25 and 50							1

Swirl orbit of 50 mm at 205 rpm for 6 seconds			1

Hydrochlorothiazide: 100; Metoprolol succinate: 75			1

Lumacaftor:65; Ivacaftor: 65					1

FDC: IVA: 65/TEZ:75; IVA: 65					1

Lamivudine and Zidovudine: 75				1

10 dpm (dip rate per minute)					1

85							1

15 dips/min						1

Mel: 75; Riz: 50						1

75 (for 500 mg) & 125 (for 1000 mg)				1

Phase 1 & 2: 100 rpm; Phase 3: 50 rpm				1

30 dips/min						1

Netupitant:100; Palonosetron: 75				1

60 cycles (chews) per minute					1

Flow @ 3 mL/min						1

Acid Stage: 75 rpm; Buffer Stage: 60 rpm			1

100							1

Stroke depth: 2-3 cm; 30-60 cycles per minute			1

Naproxen::50 rpm Esomeprazole::75 rpm			1

Dutasteride: 75 Tamsulosin: 50				1

130							1

Acid stage: 100; Buffer stage: 75				1

180							1

Clarithromycin and Vonoprazan: 50				1

Vonoprazan: 50						1

4 mL/min							1

Flow @ 8 mL/min						1

20							1

20 (CABO); 50 (RILP)					1

Met: 100: Can:100						1

Canagliflozin: 75; Metformin: 50				1

75							1

Carbidopa and Levodopa: 50; Entacapone: 125			1

50 mg, 100 mg and 200 mg: 50 rpm; 400 mg: 75 rpm		1

27 dpm							1

Flow @ 6 mL/min						1

50 RPM (12.5 mg, 25 mg and 100 mg); 75 RPM (150 mg and 200 mg)	1

Cobi: 75; Drv:75						1

75 rpm (for 75 mg strength); 150 rpm (for 300 mg strength)		1

25 dpm							1

30 cycles per min						1

12 dpm							1

100 (diclo)						1

Elagolix: 100						1

FDC: ELE: 75/IVA: 65/TEZ:75; IVA: 75				1

30							1